## Slide 1: Operational Amplifiers
Golden Rules

## Slide 2: BPF + Op-amp: Applications
Proceedings of the 24th International Modal Analysis Conference (IMAC XXIV), St. Louis, MO, January 30 - February 2, 2006
http://www.wang.ce.gatech.edu/publication_pdfs/Conference_Papers/IMACXXIVLynch.pdf

## Slide 3: What happens when we don’t monitor?
Minneapolis, August 2007

## Slide 4: Data Sheets

## Slide 5: What’s in the box? (Hint: Lots of transistors)

## Slide 6: Negative Feedback
Notes: http://www.youtube.com/watch?v=CXogtrK4g5s. Fwd to 5:31 min

## Slide 7: The Golden Rules
IF connected in negative feedback, an op-amp circuit obeys the following 2 golden rules:
Golden Rule #1:
  v+ = v-
Golden Rule #2
  i+ = i- = 0
http://blogs.sj-r.com/offtheclock/index.php/archives/2166

## Slide 8
Given:
+/- Vcc = +/- 15 V
Rf = 4 kW, Ri = 1 kW, R3 = 800 W
Solve:
For the input signal shown below (1V amplitude cosine), sketch vout(t)
Non-inverting amplifier, G = (1+Rf/Ri) = 5;

## Slide 9
Given:
+/- Vcc = +/- 15 V
Rf = 4 kW, Ri = 1 kW, R3 = 800 W
Solve:
For the input signal shown below (5V amplitude cosine), sketch vout(t)
Non-inverting amplifier, G = (1+Rf/Ri) = 5; Saturation occurs at power supply limits!

## Slide 10: Sharon Jones and the Dap Kings: Spanning the audible spectrum low, mid, and high
http://jazzcapital.net/artists/sharon-jones-and-the-dap-kings.php

## Slide 11: Summer (Inverting)
Audio mixer
Weights for weighted sum

## Slide 12: Sharon Jones of the Dap Kings just messaged: “Circuits class! Silly trombone player got his slobber all over our mixer last night. We need help right away, b/c we have a hot concert tonight. Any chance you could build the band some an audio mixer? We need vocals, electric guitar and drums all on mixed a single track. Also, we want to be able to independently control the relative volume (gain) of each instrument between the range of 1/10 (very muted) and 10 (very loud). Please, help us!.”

## Slide 13: Noise Cancelling Headphones
http://electronics.howstuffworks.com/gadgets/audio-music/noise-canceling-headphone3.htm
Design an op-amp based circuit that acts as a noise canceling headphone. Use op-amps in summing and inverting configs.

## Slide 14: Difference Amplifier
Show that this op-amp outputs the difference between 2 inputs:
Vout = V2 – V1

## Slide 15: Instrumentation Amp (Better version of difference amp)
INA 126
Figure credit: TI INA 126 datasheet:
http://www.ti.com/lit/ds/symlink/ina126.pdf
Vout = G(V+in – V-in) + VREF
G = 5 + 80kW/RG [voltage gain]
RG = gain setting resistor
VREF = offset voltage (‘bias voltage’)
40k
40k
10k
10k
b
c
a

## Slide 16: Why measure a difference?
Neural Prosthetic Hands
Temperature Measurement
Image credits: i-limb.com, hackaday,com, wlu.edu, omega.com, explainthatstuff.com

## Slide 17: Still more applications
Photovoltaic solar cells produce a variable output DC current that is proportional to their size and the amount of solar radiation falling upon the silicon wafer.
http://www.alternative-energy-tutorials.com/solar-power/photovoltaics.html

## Slide 18
Structural Health Monitoring: Measuring Mechanical Deformation

## Slide 19: Buffer (“Voltage Follower”)
Isolates high Rs from low RL
Use it anytime you want to get a voltage measurement without disturbing the circuit you are trying to measure
Notes: https://www.youtube.com/watch?feature=player_embedded&v=Ie0ZOlUM7e4

## Slide 20
(A) Inverting amp
(B) Summer
(C) Non-inverting amp
(D) Buffer
(E) Comparator

## Slide 21: Op-amps: Part II
Instrumentation Amp & Active Filters

## Slide 22: Instrumenting Prosthetic Hand: The ElectroMyoGram
http://www.touchbionics.com/products/active-prostheses/i-limb-ultra/
Notes: https://www.youtube.com/watch?v=_qUPnnROxvY

## Slide 23: How to measure the EMG
http://lowerextremityreview.com/article/unstable-shoe-designs-functional-implications
http://www.vibrationtrainingdevice.com/VG-Evolution-I-Vibrogym.htm
Skin electrodes
Filters and Amplifiers

## Slide 24
Instrumentation Amplifier: What’s Inside the Box
Difference Amplifier

## Slide 25: The ElectroMyoGram (EMG)
Image from Intan Technologies RHD2000 series datasheet (intantech.com)

## Slide 26: Design Problem: Helping Hand
Raw signal of muscle contraction measured on the skin:
  0.2 – 2 mV in amplitude
  Frequencies of interest are 5 - 1000 Hz. Lots of other sources of noise outside this frequency band.
Design a system that:
  Outputs ~ 2 -5 V amplitude when muscle contracts
  Contains frequency content (“potentially”) related to muscle contractions only.

## Slide 27: Neural Prosthetics in Real Life
Notes: https://www.youtube.com/watch?v=CDsNZJTWw0w

## Slide 28: Meet the Parents: Lie Detector Circuit
Skin conductance vs. time

## Slide 29
t (sec)
1
2
-1
-2
Given:
+/- Vcc = +/- 15 V
Vs = 5 V, R1 = 4 kW, R2 = 1 kW
Solve:
For the input signal shown below,
sketch vout(t)
-15
15
vin(t) V

## Slide 30
vin(t) V
Given:
+/- Vcc = +/- 15 V
Vs = 5 V, R1 = 4 kW, R2 = 1 kW
Solve:
For the input signal shown below,
sketch vout(t)
t (sec)
1
2
-1
-2
-15
15
Comparator: v- = 1V. Pos. saturation occurs whenever vin(t) > 1V, Neg. sat. otherwise

## Slide 31: Comparator
Op amp in the smoke detector

## Slide 32: Data sheets

## Slide 33: What’s in the box: Lots of transistors

## Slide 34: Differential Amplifier
Image credit: http://www.electronic-basics.com/2011/10/differential-amplifier.html
IT
Vout = A(Vin+ - Vin-)
A ~ 10ITR2
A is the “open loop” voltage gain
Vin+
I1
I2